## Sheet1
Knowledgebase ID IN6560
Discontinued Part Number | Description | Discontinued 100S-D115 Replacement Part Number | Replacement 100E Part Numbers without PLC Input Circuit | Replacement 100E Part Numbers with PLC Input Circuit | Conversion Notes
100S-D110A22BC | IEC Contactor, 110A, 220-230V 50Hz, 240V 60Hz | 100S-D115A22BC | 100S-E116KD12C + 100-ECL146 | Not Applicable | 100-E Accessories are not compatible with 100-D Accessories.
100S-D110A22C | IEC Contactor, 110A, 220-230V 50Hz, 240V 60Hz | 100S-D115A22C | 100S-E116KD12C + 100-ECL146 | Not Applicable | 100-E Accessories are not compatible with 100-D Accessories.
100S-D110B22C | IEC Contactor, 110A, 480V 60Hz | 100S-D115B22C | 100S-E116KN12C + 100-ECL146 | Not Applicable | 100-E Accessories are not compatible with 100-D Accessories.
100S-D110D22BC | IEC Contactor, 110A, 110V 50Hz / 120V 60Hz | 100S-D115D22BC | 100S-E116KD12C + 100-ECL146 | Not Applicable | 100-E Accessories are not compatible with 100-D Accessories.
100S-D110D22C | IEC Contactor, 110A, 110V 50Hz / 120V 60Hz | 100S-D115D22C | 100S-E116KD12C + 100-ECL146 | Not Applicable | 100-E Accessories are not compatible with 100-D Accessories.
100S-D110EA22BC | IEC Contactor, 110A, 208-277V 50/60Hz | 100S-D115EA22BC | 100S-E116KD12C + 100-ECL146 | 100S-E116ED12C (208-250V) or 100S-E116ENC (250-500V) + 100-ECL146 | 100-E Accessories are not compatible with 100-D Accessories.
100S-D110EA22C | IEC Contactor, 110A, 208-277V 50/60Hz | 100S-D115EA22C | 100S-E116KD12C + 100-ECL146 | 100S-E116ED12C (208-250V) or 100S-E116ENC (250-500V) + 100-ECL146 | 100-E Accessories are not compatible with 100-D Accessories.
100S-D110ED22BC | IEC Contactor, 110A, 110-130V 50/60Hz | 100S-D115ED22BC | 100S-E116KD12C + 100-ECL146 | 100S-E116ED12C + 100-ECL146 | 100-E Accessories are not compatible with 100-D Accessories.
100S-D110ED22C | IEC Contactor, 110A, 110-130V 50/60Hz | 100S-D115ED22C | 100S-E116KD12C + 100-ECL146 | 100S-E116ED12C + 100-ECL146 | 100-E Accessories are not compatible with 100-D Accessories.
100S-D110EG22C | IEC Contactor, 110A, 200V 50/60Hz | 100S-D115EG22C | 100S-E116KD12C + 100-ECL146 | 100S-E116ED12C + 100-ECL146 | 100-E Accessories are not compatible with 100-D Accessories.
100S-D110EJ22BC | IEC Contactor, 110A, 24V 50/60Hz | 100S-D115EJ22BC | 100S-E116KJ12C + 100-ECL146 | No Product Offering | 24V DC PLC Interface input circuit is not available in the 100S-E line
100S-D110EN22BC | IEC Contactor, 110A, 380-500V 50/60Hz | 100S-D115EN22BC | 100S-E116KN12C + 100-ECL146 | 100S-E116EN12C + 100-ECL146 | 100-E Accessories are not compatible with 100-D Accessories.
100S-D110EN22C | IEC Contactor, 110A, 380-500V 50/60Hz | 100S-D115EN22C | 100S-E116KN12C + 100-ECL146 | 100S-E116EN12C + 100-ECL146 | 100-E Accessories are not compatible with 100-D Accessories.
100S-D110EP22C | IEC Contactor, 110A, 100V 50/60Hz | 100S-D115EP22C | 100S-E116KY12C + 100-ECL146 | No Product Offering | 24V DC PLC Interface input circuit is not available in the 100S-E line
100S-D110EY22C | IEC Contactor, 110A, 42-64V 50/60Hz | 100S-D115EY22C | 100S-E116KJ12C (24-60V AC/DC) or 100S-E116KY12C (48-130V AC/DC) + 100-ECL146 | 100S-E116EY12C + 100-ECL146 | 100-E Accessories are not compatible with 100-D Accessories.
100S-D110EZA22C | IEC Contactor, 110A, 200-250V DC | 100S-D115EZA22C | 100S-E116KD12C + 100-ECL146 | 100S-E116ED12C + 100-ECL146 | 100-E Accessories are not compatible with 100-D Accessories.
100S-D110EZD22C | IEC Contactor, 110A, 110-130V DC | 100S-D115EZD22C | 100S-E116KD12C + 100-ECL146 | 100S-E116ED12C + 100-ECL146 | 100-E Accessories are not compatible with 100-D Accessories.
100S-D110EZJ22BC | IEC Contactor, 110A, 24V DC | 100S-D115EZJ22BC | 100S-E116KJ12C + 100-ECL146 | No Product Offering | 24V DC PLC Interface input circuit is not available in the 100S-E line
100S-D110EZJ22C | IEC Contactor, 110A, 24V DC | 100S-D115EZJ22C | 100S-E116KJ12C + 100-ECL146 | No Product Offering | 24V DC PLC Interface input circuit is not available in the 100S-E line
100S-D110EZY22C | IEC Contactor, 110A, 48-72V DC | 100S-D115EZY22C | 100S-E116KY12C + 100-ECL146 | No Product Offering | 24V DC PLC Interface input circuit is not available in the 100S-E line
100S-D110G22C | IEC Contactor, 110A, 440V 50Hz | 100S-D115G22C | 100S-E116KN12C + 100-ECL146 | 100S-E116EN12C + 100-ECL146 | 100-E Accessories are not compatible with 100-D Accessories.
100S-D110H22C | IEC Contactor, 110A, 208V 60Hz | 100S-D115H22C | 100S-E116KD12C + 100-ECL146 | Not Applicable | 100-E Accessories are not compatible with 100-D Accessories.
100S-D110J22C | IEC Contactor, 110A, 24V 60Hz | 100S-D115J22C | 100S-E116KJ12C + 100-ECL146 | Not Applicable | 100-E Accessories are not compatible with 100-D Accessories.
100S-D110K22BC | IEC Contactor, 110A, 24V 50Hz | 100S-D115K22BC | 100S-E116KJ12C + 100-ECL146 | Not Applicable | 100-E Accessories are not compatible with 100-D Accessories.
100S-D110KA22C | IEC Contactor, 110A, 240V 50/60Hz | 100S-D115KA22C | 100S-E116KD12C + 100-ECL146 | Not Applicable | 100-E Accessories are not compatible with 100-D Accessories.
100S-D110KF22BC | IEC Contactor, 110A, 230V 50/60Hz | 100S-D115KF22BC | 100S-E116KD12C + 100-ECL146 | Not Applicable | 100-E Accessories are not compatible with 100-D Accessories.
100S-D110KF22C | IEC Contactor, 110A, 230V 50/60Hz | 100S-D115KF22C | 100S-E116KD12C + 100-ECL146 | Not Applicable | 100-E Accessories are not compatible with 100-D Accessories.
100S-D110KG22BC | IEC Contactor, 110A, 200V 50/60Hz | 100S-D115KG22BC | 100S-E116KD12C + 100-ECL146 | Not Applicable | 100-E Accessories are not compatible with 100-D Accessories.
100S-D110KN22BC | IEC Contactor, 110A, 110V 50/60Hz | 100S-D115KN22BC | 100S-E116KY12C + 100-ECL146 | Not Applicable | 100-E Accessories are not compatible with 100-D Accessories.
100S-D110KN22C | IEC Contactor, 110A, 110V 50/60Hz | 100S-D115KN22C | 100S-E116KY12C + 100-ECL146 | Not Applicable | 100-E Accessories are not compatible with 100-D Accessories.
100S-D110KP22C | IEC Contactor, 110A, 100V 50/60Hz | 100S-D115KP22C | 100S-E116KY12C + 100-ECL146 | Not Applicable | 100-E Accessories are not compatible with 100-D Accessories.
100S-D110M22C | IEC Contactor, 110A, 500V 50Hz | 100S-D115M22C | 100S-E116KN12C + 100-ECL146 | Not Applicable | 100-E Accessories are not compatible with 100-D Accessories.
100S-D110N22C | IEC Contactor, 110A, 380-400V 50Hz, 440V 60Hz | 100S-D115N22C | 100S-E116KN12C + 100-ECL146 | Not Applicable | 100-E Accessories are not compatible with 100-D Accessories.
100S-D110T22C | IEC Contactor, 110A, 240V 50Hz / 277V 60Hz | 100S-D115T22C | 100S-E116KD12C (208-250V) or 100S-E116KN12C (250-500V) + 100-ECL146 | Not Applicable | 100-E Accessories are not compatible with 100-D Accessories.
100S-D110X22C | IEC Contactor, 110A, 48V 60Hz | 100S-D115X22C | 100S-E116KY12C + 100-ECL146 | Not Applicable | 100-E Accessories are not compatible with 100-D Accessories.
100S-D110Y22C | IEC Contactor, 110A, 48V 50Hz | 100S-D115Y22C | 100S-E116KY12C + 100-ECL146 | Not Applicable | 100-E Accessories are not compatible with 100-D Accessories.
100S-D110ZA33LC | IEC Contactor, 110A, 220V DC | 100S-D115ZA33LC | 100S-E116KD12C + 100-ECL146 | Not Applicable | 100-E Accessories are not compatible with 100-D Accessories.
100S-D110ZD33LC | IEC Contactor, 110A, 110V DC | 100S-D115ZD33LC | 100S-E116KY12C + 100-ECL146 | Not Applicable | 100-E Accessories are not compatible with 100-D Accessories.
100S-D110ZJ33LC | IEC Contactor, 110A, 24V DC | 100S-D115ZJ33LC | 100S-E116KJ12C + 100-ECL146 | Not Applicable | 100-E Accessories are not compatible with 100-D Accessories.
100S-D110ZQ33LC | IEC Contactor, 110A, 12V DC | 100S-D115ZQ33LC | No 12V DC coil offering in 100S-E product line. | Not Applicable | Not Applicable
100S-D110ZT33LC | IEC Contactor, 110A, 250V DC | 100S-D115ZT33LC | 100S-E116KD12C + 100-ECL146 | Not Applicable | 100-E Accessories are not compatible with 100-D Accessories.
100S-D110ZY33LC | IEC Contactor, 110A, 48V DC | 100S-D115ZY33LC | 100S-E116KJ12C + 100-ECL146 | Not Applicable | 100-E Accessories are not compatible with 100-D Accessories.